# Audit & Monitoring Plan

Eskom GIT Enterprise Historian System
Prepared by: Delta (Network & Security Engineer)
Date: 2026-03-13

# 1. Centralized Logging Architecture

Security logs from Historian servers, DMZ proxies, and firewalls are forwarded via syslog to a central SIEM platform. Log retention is set to 1 year hotline/cold-line as per Eskom policy.

# 2. Monitored Events and Alerting Configuration

Events configured for immediate alert generation:

Multiple failed login attempts (Brute force detection).

Privilege escalation anomalies.

Firewall rule block threshold exceeded.

Unexpected collector connection drop.

Certificate expiration within 30 days.

# 3. Audit Cadence

Security assessments and vulnerability scanning will be performed monthly. Identified CVEs with CVSS scores > 7.0 will be prioritized and mediated strictly within 14 days.