# Security Hardening Checklist & Evidence Pack

Eskom GIT Enterprise Historian System
Prepared by: Delta (Network & Security Engineer)
Date: 2026-03-13

# 1. TLS Hardening and PKI Integration

All communications are encrypted using TLS 1.2 or higher. Certificates are provisioned by an internal Enterprise Root CA.

# 2. Server and Endpoint Hardening Baseline (CIS Benchmarks)

Checklist:

Disable unneeded services (e.g., FTP, Telnet).

Enforce complex password policies via GPO.

Enable local OS firewalls with default-block rules.

Uninstall all extraneous applications and utilities.

Implement Endpoint Detection and Response (EDR) agents.

# 3. Application Security Configuration

Historian Service accounts utilize Managed Service Accounts (gMSA) or apply the principle of least privilege, with passwords rotated every 60 days where applicable.